EN14351 – THE ROUTE TO COMPLIANCE  FOR WOOD, STEEL, PVCu & ALUMINIUM WINDOWS & PEDESTRIAN DOOR SETS.

Have calculated or obtain:-  EN10077 (from a Notified Body) or BFRC Thermal Simulations.

It may be necessary to get air leakage on the various window and door systems by an ISO 17025 Certified Laboratory. These are required for BFRC  & EN10077 Simulations (Available from PVCU & some aluminium suppliers).

Have complete system audited to confirm compliance.

Obtain Technical Data on Testing of safety devices to EN 14609 - EN 948

Engage CENSolutions Ltd to write your FPC – Quality Manual and to assist in the procedures below

If only BRFC Simulations are available these must be converted to EN10077 by a Notified Body and get thermal simulations to EN10077 done for all pedestrian doors.

Declare compliance to EN 14351.

Instigate all  in-house procedures.

Obtain  Data on Dangerous Substances.